CORE COMPETENCY FRAMEWORK

FOR ASSOCIATE DEGREE

IN BIOMEDICAL ENGINEERING

IN THE KINGDOM OF CAMBODIA

Table of Contents

Acknowledgement	3

I.	Introduction	6

II.	Development of the Competency framework	7

III.	Glossary Terms	9

IV.	The structure of framework	10

V.	Competency framework for associate degree in biomedical engineering in Cambodia	12

VI.	References	23

# Acknowledgement

This Core competency framework for Associate Degree Program in Biomedical Engineering is a product of join effort between the University of Health Sciences (UHS) and the Institute of Technology of Cambodia (ITC) collaborated with biomedical engineering experts from Czech Technical University in Prague, Czech Republic (CTU). This is a new achievement of the Ministry of Health to produce resources in biomedical equipment technicians who are crucial to perform quality control tests, assist health care providers in making accurate diagnoses, treating patients, and improving the quality of health care services.

This achievement would not be possible without the contribution of:

- Ass. Prof. Tann Ngy 		Director of Technical School for Medical Care, UHS

- Dr. 	Khuon Dyna	Deputy Director of Technical School for Medical Care, UHS

- Dr. 	Nguon Kollika 	Deputy Director, ITC

- Dr. 	    Sreng Sokchenda   Head of Telecommunication and Networking Department, ITC

- Mr. 	    Lim Hokkean         Hygiene, Security Quality and Maintenance Institut Pasteur du Cambodge (IPC)

- Mr.         Chhom Sakborey 	Chief of Electronic Technology, Calmette Hospital

- Dr. 	   Dary Chhavarath	Staff, Public Health Unit, UHS

- Mr. 	   Ty Simaro 		Head of laboratory Unit, Technical School for Medical Care, UHS

- Ms. 	Moung Sokhorn 	Staff, Technical School for Medical Care, UHS

- Prof.	Karel Roubík		Czech Technical University in Prague

- Mr.	Šimon Walzel		Czech Technical University in Prague

- Mr.	Ladislav Bís		Czech Technical University in Prague

- Dr.	Lenka Horáková	Czech Technical University in Prague

- Dr.	Václav Ort		Czech Technical University in Prague

- Miss 		Mey Chetra 		Staff, UHS

- Dr.       Thuon Kosal 		Institute of Technology of Cambodia

- Dr.       Pech Rattana		Institute of Technology of Cambodia

- Mr.	Tarasi Hak 		Institute of Technology of Cambodia

- Mr.	Chhorn Sopheaktra	Institute of Technology of Cambodia

- Mr.      Yun Seang Yi		Calmette Hospital

- Mr.      Chhoeut Koeun	Calmette Hospital

- Mr.      Mom Chandara	National Center For HIV/AIDS, Dermatology and STDs

- Mr.      Try Keo 		N Health

- Mrs.     Nathaya Nwprophan  N Health

- Mr.      	Do Arunrasmey  	Khmer-Soviet Friendship Hospital

- Mr.      Sorn Ratha 		Luang Me Hospital

- Mr.      Kao Pheavit		Preah Kosomak Hospital

- Mrs.     Sem Malay 		PADH

- Mrs.    Theang Sokuntheavy 	TSNH

- Mr.      Kong Daro 		Dynamic Healthcare Co., Ltd

- Mr.  Sem Vattanakphun 	GE Company

- JICA Working Group

The Ministry of Health would like to express sincere appreciation for the efforts of Professors, Doctors, teachers, ladies and gentlemen who have actively participated in compiling this core competency framework for the Associate Degree in Biomedical Engineering.

Core Competency Framework

for Associate Degree in Biomedical Engineering in Cambodia

August 2024

# Introduction

In order to provide better health care, health care providers at each health facilities must have the ability and expertise to use biomedical equipment, from simple gadgets such as stethoscopes to modern and complex medical devices such as computed tomography (CT) scanners, or magnetic resonance imaging (MRI) scanners. Biomedical devices are crucial for supporting the treatment and care of patients. Biomedical equipment requires well-trained and highly skilled technicians who are able to manage and maintain to ensure that they are in their optimal functions.

Cambodia has installed extensive biomedical devices at health facilities across the country, both private and public. However, number of qualified technicians to maintain and repair that biomedical equipment is still scarce. As a consequence, in order to assure effective care and treatment for patients, each health care facility faces many challenges. Those are (but not limited to):

- Seeking maintenance from private companies (usually from abroad) which are too expensive

- Repair service is very slow

- Local technicians mostly do not know how to identify the problem or how to fix it when the problem is identified

- Related documents for technical equipment are scarce

- Local technicians do not have sufficient resources such as equipment, facilities, workshops and diagnostic equipment.

Professional biomedical equipment engineer/technicians who have undergone the qualified training could be able to manage and solve the aforementioned problems. Cambodia is in need of national biomedical engineering training curriculum for the training institution to provide the quality training to produce qualified biomedical equipment engineer/technicians who are able to tackled the above identified problems.

The core competency framework (CCF) of biomedical engineering is the first important component of the national biomedical engineering curriculum. This CCF aims to identify and document the core competency structure as well as indicators of biomedical equipment technicians in Cambodia. These indicators will cover knowledge, skills, competency and appropriate attitude, and professionalism of Cambodian biomedical equipment technicians.

# Development of the Competency framework

The core competency framework (CCF) of biomedical engineering technicians is made possible by the initiation of the Ministry of Health management team under the “Strengthening Pre-Service Education System for Health Professionals Project” with the support from the World Bank.

The technical working group composes of members from the University of Health Sciences (UHS), Institute Technology of Cambodia (ITC), Calmette Hospital and the Institut Pasteur du Cambodge (IPC), in collaboration with biomedical engineering experts from the Czech Technical University in Prague, Czech Republic (CTU). The technical working group works with other experts in the field to develop this CCF through the following stages:

- The team reviewed relevant references, and existing curricula. We reviewed the core competency framework for the biomedical engineering profession available on the University Websites using the keywords: Core competency framework, Biomedical, Biomedical engineering, Biomedical engineering Program. As a result, we have compiled and documented the following:

- Assessment of Medical equipment in Cambodia conducted in 2014(1)

- National Curriculum, Associate Degree, Biomedical Equipment Technician published 2013(2)

- Draft of Curriculum for Associate Degree in Biomedical Engineering completed in 2017 (3)

- Several Core Competencies, Curriculum Frameworks for the Biomedical Equipment Technician (BMET) from universities websites, and published guides for Curriculum Development(4–11)

- A number of documents that have already been developed in Cambodia on the direct management and the rights and responsibilities of biomedical technicians in Cambodia health facilities, which will be documented in the biomedical engineering website. This is one of the workplan of the collaboration between UHS, ITC and CTU(12).

- The team organized several meetings, online meetings through Zoom platform and physical meetings to understand the perspective of experts on the needs of the market in medical equipment technicians. The meetings also discuss the competency of the medical equipment technicians to fulfil the needs. We also compile the opinions of biomedical technicians on the current and future needs of biomedical technicians in healthcare providers, hospitals, laboratories and medical equipment companies, laboratory equipment, etc.

- We conducted a three-day consultative workshop with stakeholders, involving representative from Ministry of Health, non-government organizations, hospitals, laboratories and medical equipment companies, laboratory equipment companies, etc., to discuss the core competency framework for the biomedical engineering profession in Cambodia by using the following questions for discussion:

- What are the current requirements of a biomedical engineer at your workplace?

- What are the competencies of biomedical engineering graduates that you like to see currently (knowledge, practice and behaviour)?

- What are the competencies of biomedical engineering graduates that you like to see currently (knowledge, practice and behaviour) in the next 5 years​​ in Cambodian and Asian context?

- What do you think current biomedical engineering program needs to be improved to meet market demand?

- Finally, the CCF for Cambodian biomedical engineering technicians is being reviewed by relevant national and international experts, with an evaluation by the project performance evaluation committee. The CCF composes of 4 domains:

- Domain 1: Scientific Foundation in Biomedical Engineering (Knowledge). This domain provides biomedical technicians with knowledge related to biomedical education and information communication technology, and pure sciences include basic knowledge of mathematics chemistry, and physics.

- Domain 2: Provision of Biomedical Engineering (Technical Services - Skill). This domain empowers biomedical technicians in the provision of biomedical related services in health care facilities such as hospitals, laboratories, biomedical equipment companies etc.

- Domain 3: Professionalism, Ethical Value (Ethics, soft skill). This domain provides biomedical technicians with knowledge of legal and professional ethics, good standing and professional reputation, safe operations, cooperation and teamwork, self-management and leadership skills.

- Domain 4: Management and Communication Skill (Management, soft skill). This domain employs biomedical technicians in workplace management, communication and self-management skill, collaboration and team work.

# Glossary Terms

| Term | Description |
| --- | --- |
| Competency | Describe a distinct composite of knowledge, skill, attitude and value that is essential to the practice of the profession(4,7) |
| Competency Framework | Describe a system that elaborates the necessary behaviours of competency at different levels, applied to different positions in an enterprise, organization to fulfil the role/job (4,7) |
| Domain | Describe the area of professional responsibility (4) |
| Element | Describe the identifiable components of each dimension of competency in terms of the performance outcomes.(4) |
| Indicator | Describe an inter-related set of factors that define the level of performance in key areas as observable behaviours or results (4) |
| Statement | Describe the range of levels or capacity to satisfy the actual requirements of work that is certified through assessment and inspection according to professional competency standards(4) |

# The structure of framework

| Domains | Statements and Elements |
| --- | --- |
| - Scientific foundation in biomedical engineering (Knowledge) | - Biomedical science - Biomedical equipment related terms - Medical Science (Human anatomy and physiology) - Life science (biology & biochemistry, haematology & immunology, microbiology…) - Infection prevention and control |
|  | - Technology - Methodology (to develop new tools) |
|  | - Engineering: electronics, mathematics, information communication technology, science (ICT) - Analog electronics, digital electronics - Sensor and microcontroller - Pneumatics System Operation and Control - Plumbing, medical/lab gas system - ICT - Thermodynamics - Pure science (mathematics/basic statistics, physics, biochemistry) |
|  | - Biomedical engineering - Principles of medical equipment - Biomedical materials (specific to materials) |
| - Provision of Biomedical Engineering (Technical Services (Skill) | - Electrical workshops: electric and electronic workshops - Inspection and maintenance - Diagnostics and reparations (safety) - Operation - Installation - Service documentation (SOP, Operation manual…) - Processing of basic medical equipment - Basic understanding of the three level of ME (Low risk, medium risk and high risk) |
|  | - Electrical workshops (electrics and electronics workshops) - Electrical system - Electrical testing and measurement - Electronic troubleshooting |
|  | - Information communication technology, science (ICT) - Basic computer application - Basic concept of software operation (basic set up program) |
| - Professionalism, Ethical Value (Ethics, soft skill) | - Legal and ethical practice |
|  | - Good standing and reputation |
|  | - Leadership skill |
|  | - Decision-making skills |
| - Management and Communication Skill (Management, soft skill) | - Management of biomedical engineering technology - Management of medical equipment - Management of Infrastructure of the hospital and biomedical laboratories - Waste management, Decontamination - Quality management system - Safe biomedical practices |
|  | - Communication and self-management skill |
|  | - English language (Up to Intermediate level) |
|  | - 4.4. Collaboration and teamwork |

# Competency framework for associate degree in biomedical engineering in Cambodia

| Code | Domains | Statements | Elements | Indicators | Weight |
| --- | --- | --- | --- | --- | --- |
| 1 | Scientific foundation in biomedical engineering (Knowledge) |  |  |  | 30% |
| 1.1 |  | Biomedical science |  |  |  |
| 1.1.1 |  |  | Biomedical equipment related terms |  |  |
| 1.1.1.1 |  |  |  | Explain biomedical equipment terms |  |
| 1.1.1.2 |  |  |  | Apply biomedical equipment terms in work and communication |  |
| 1.1.2 |  |  | Human anatomy and physiology |  |  |
| 1.1.2.1 |  |  |  | Explain common anatomical terminology |  |
| 1.1.2.2 |  |  |  | Explain the functions of body organs |  |
| 1.1.3 |  |  | Life science (biology & biochemistry, haematology & immunology, microbiology…) |  |  |
| 1.1.3.1 |  |  |  | Describe blood cells, their functions and immune response |  |
| 1.1.3.2 |  |  |  | Understand the basic foundation of bacteria, parasites, virus and fungi |  |
| 1.1.3.3 |  |  |  | Understand important cell structure, function and biochemical metabolisms |  |
| 1.1.4 |  |  | Infection prevention and control |  |  |
| 1.1.4.1 |  |  |  | Understand universal precautionary measures and safety |  |
| 1.2 |  | Technology |  |  |  |
| 1.2.1 |  |  | Methodology (to develop new tools) |  |  |
| 1.2.1.1 |  |  |  | Understand technical drawing concept |  |
| 1.2.1.2 |  |  |  | Understand the concept of sensor |  |
| 1.3 |  | Engineering: electronics, mechanics, ICT, science |  |  |  |
| 1.3.1 |  |  | Analog electronics, digital electronics |  |  |
| 1.3.1.1 |  |  |  | Identify basic electronic symbols |  |
| 1.3.1.2 |  |  |  | Construct basic electronic circuit according schematics |  |
| 1.3.1.3 |  |  |  | Identify electronic components |  |
| 1.3.1.4 |  |  |  | Set up basic testing equipment (power supply, oscilloscope, multi-meter…) |  |
| 1.3.1.5 |  |  |  | Understand technical datasheet |  |
| 1.3.1.6 |  |  |  | Analyse operation of Analog circuit |  |
| 1.3.1.7 |  |  |  | Identify basic electrical symbols |  |
| 1.3.1.8 |  |  |  | Construct basic electrical circuit |  |
| 1.3.1.9 |  |  |  | Analyse electrical circuit according schematics |  |
| 1.3.1.10 |  |  |  | Identify basic digital electronic symbols (logic gate, flip-flop…) |  |
| 1.3.1.11 |  |  |  | Construct basic digital electronic circuit according to schematics |  |
| 1.3.1.12 |  |  |  | Understand operation of digital electronic circuit |  |
| 1.3.2 |  |  | Sensor and microcontroller |  |  |
| 1.3.2.1 |  |  |  | Describe microcontroller architecture |  |
| 1.3.2.2 |  |  |  | Construct microcontroller circuit according schematics |  |
| 1.3.2.3 |  |  |  | Perform microcontroller programming |  |
| 1.3.2.4 |  |  |  | Operate microcontroller with commonly used sensors |  |
| 1.3.3 |  |  | Pneumatics |  |  |
| 1.3.3.1 |  |  |  | Understand pneumatics symbol |  |
| 1.3.3.2 |  |  |  | Understand pneumatics Valve (Pressure control valve, Flow control Valve and Directional Control Valve) |  |
| 1.3.3.3 |  |  |  | Describe the Pneumatic Circuit |  |
| 1.3.3.4 |  |  |  | Understand Pneumatic schematic and Installation |  |
| 1.3.3.5 |  |  |  | Understand and explain the operation purpose of pneumatic circuit |  |
| 1.3.4 |  |  | Plumbing (medical/lab gas system) |  |  |
| 1.3.4.1 |  |  |  | Understand Pressure, flow, velocity and resistance of flow |  |
| 1.3.4.2 |  |  |  | Understand laminar flow and turbulent flow describe plumbing circuit and operation |  |
| 1.3.4.3 |  |  |  | Understand the effective of compliance rigid and flexible container |  |
| 1.3.4.4. |  |  |  | Understand fundamental Mechanical Ventilator and infusion pump |  |
| 1.3.4.5 |  |  |  | Describe the components of medical gas equipment |  |
| 1.3.4.6 |  |  |  | Understand the principle and operation of medical gas equipment |  |
| 1.3.5 |  |  | ICT |  |  |
| 1.3.5.1 |  |  |  | List basic components of computer |  |
| 1.3.5.2 |  |  |  | Understand Ms. Office, internet (browsers, search engine), email, AI applications (chatGPT, Google Gemini…) |  |
| 1.3.5.3 |  |  |  | Identify network components (switch, router, hub…) |  |
| 1.3.5.4 |  |  |  | Describe network architecture |  |
| 1.3.5.5 |  |  |  | Understand basic configuration system of network |  |
| 1.3.5.6 |  |  |  | Describe wireless communication technology (WIFI, Bluetooth, internet…) |  |
| 1.3.6 |  |  | Thermodynamics |  |  |
| 1.3.6.1 |  |  |  | Describe Heat, Temperature, and Theory of heat |  |
|  |  |  |  | Understand Fundamental Law of Thermodynamic |  |
| 1.3.6.2 |  |  |  | Understand principle Gas Mixing theory |  |
| 1.3.6.3 |  |  |  | Understand Thermodynamic Equilibrium system |  |
| 1.3.6.4 |  |  |  | Understand the moisture control and comfort condition |  |
| 1.3.6.5 |  |  |  | understand the process heat transfer in mechanical |  |
| 1.3.7 |  |  | Pure science (mathematics/basic statistics, physics, biochemistry) |  |  |
| 1.3.7.1 |  |  |  | Interpret central tendency (Mean, median, mode) |  |
| 1.3.7.2 |  |  |  | Interpret Dispersion (Range, variance, standard deviation, interquartile range) |  |
| 1.3.7.3 |  |  |  | Interpret graphical representations (Histograms, bar charts, pie charts, box plots) |  |
| 1.3.7.4 |  |  |  | Describe the properties of matter and fluids |  |
| 1.3.7.5 |  |  |  | Describe heat & thermodynamics with introduction to heat transfer machine. |  |
| 1.3.7.6 |  |  |  | Explain the concepts of optics covering theory of light. |  |
| 1.3.7.7 |  |  |  | Explain the electricity and magnetism and its application in electrical and electronic field |  |
| 1.3.7.8 |  |  |  | Describe structural and functional of bio- macromolecule |  |
| 1.3.7.9 |  |  |  | Explain basic information on specific metabolic diseases and disorders of biomolecules |  |
| 1.4 |  | Biomedical engineering: |  |  |  |
| 1.4.1 |  |  | Principles of medical equipment |  |  |
| 1.4.1.1 |  |  |  | Understand basic signal processing |  |
| 1.4.1.2 |  |  |  | Understand basic image processing |  |
| 1.4.1.3 |  |  |  | Understand basic principle of medical imaging techniques: X-ray, CT scan, Ultrasound, MRI, SPECT, PET scan |  |
| 1.4.1.4 |  |  |  | Identify components of medical equipment |  |
| 1.4.1.5 |  |  |  | Identify types of medical equipment |  |
| 1.4.2 |  |  | Biomedical materials (specific to materials) |  |  |
| 1.4.2.1 |  |  |  | Describe of different types of Biomaterials and its classification |  |
| 1.4.2.2 |  |  |  | Explain the combinations of materials that could be used as a tissue replacement implant |  |
| 2 | Provision of biomedical engineering (technical)services (Skill) |  |  |  | 50% |
| 2.1 |  | Mechanical and biomedical engineering workshops |  |  |  |
| 2.1.1 |  |  | Inspection and maintenance |  |  |
| 2.1.1.1 |  |  |  | Develop checklist, and maintenance schedule for inspection and maintenance of medical equipment |  |
| 2.1.1.2 |  |  |  | Localize components of medical equipment |  |
| 2.1.1.3 |  |  |  | Assemble/disassemble parts of medical equipment |  |
| 2.1.1.4 |  |  |  | Advice the necessary parts to be kept in stock |  |
| 2.1.1.5 |  |  |  | Prioritize the medical equipment in health care facility |  |
| 2.1.2 |  |  | Diagnostics and reparations (safety) |  |  |
| 2.1.2.1 |  |  |  | Identify technical problems in medical equipment |  |
| 2.1.2.2 |  |  |  | Solve technical problems in medical equipment (troubleshooting) |  |
| 2.1.2.3 |  |  |  | Apply safety procedures with recommendation to end users |  |
| 2.1.2.4 |  |  |  | Provide the conclusion with proposition after intervention on equipment |  |
| 2.1.3 |  |  | Operation |  |  |
| 2.1.3.1 |  |  |  | Develop operation SOP |  |
| 2.1.3.2 |  |  |  | Develop instruction of use |  |
| 2.1.3.3 |  |  |  | Provide basic end-user training |  |
| 2.1.4 |  |  | Installation |  |  |
| 2.1.4.1 |  |  |  | Perform verification and or calibration of medical equipment |  |
| 2.1.4.2 |  |  |  | Install the medical equipment |  |
| 2.1.4.3 |  |  |  | Perform testing and commissioning of medical equipment |  |
| 2.1.4.4 |  |  |  | Check the installation conditions up to manufacturer’s requirement |  |
| 2.1.4.5 |  |  |  | Check for decommissioning identification of the main elements involved in the risk assessment of medical equipment (lifetime) |  |
| 2.1.5 |  |  | Service documentation (SOP, operation manual…) |  |  |
| 2.1.5.1 |  |  |  | Develop work reports |  |
| 2.1.5.2 |  |  |  | Understand user's/operation manual |  |
| 2.1.5.3 |  |  |  | Understand service manual |  |
| 2.1.5.4 |  |  |  | Set up the documentation management to be easy to find |  |
| 2.1.6 |  |  | Processing of basic medical equipment |  |  |
| 2.1.6.1 |  |  |  | Process basic medical supply in a laboratories or hospitals such as autoclave… |  |
| 2.1.7 |  |  | Basic understanding of the three level of ME (Low risk, medium risk and high risk) |  |  |
| 2.1.7.1 |  |  |  | Identify the main elements involved in the risk assessment, |  |
| 2.1.7.2 |  |  |  | Establish “importance level” or, in other words, rating the “weight” of each risk factor |  |
| 2.2 |  | Electrical workshops (electrics and electronics) |  |  |  |
| 2.2.1 |  |  | Electrical system |  |  |
| 2.2.1.1 |  |  |  | Understand basic electrical system |  |
| 2.2.2 |  |  | Electrical testing and measurement |  |  |
| 2.2.2.1 |  |  |  | Perform Electrical testing and measurement |  |
| 2.2.3 |  |  | Electronic troubleshooting |  |  |
| 2.2.3.1 |  |  |  | Solve technical problems in medical equipment (troubleshooting) |  |
| 2.2.3.2 |  |  |  | Select appropriate tools for troubleshooting |  |
| 2.3 |  | ICT |  |  |  |
| 2.3.1 |  |  | Basic computer application |  |  |
| 2.3.1.1 |  |  |  | Use Ms. Office (Ms. Word, Ms. Excel and Ms. PowerPoint) to perform their job |  |
| 2.3.1.2 |  |  |  | Use internet, email and communication applications |  |
| 2.3.1.3 |  |  |  | Search for technical support documentation |  |
| 2.3.2 |  |  | Basic concept of software operation (basic set up program) |  |  |
| 2.3.2.1 |  |  |  | Install software of medical equipment following operation manual |  |
| 2.3.2.2 |  |  |  | Configure software of medical equipment following operation manual |  |
| 2.3.2.3 |  |  |  | Upgrade software of medical equipment following operation manual |  |
| 2.3.2.4 |  |  |  | Solve problems related software of medical equipment following operation manual |  |
| 3 | Professionalism, ethical Value (Ethics, soft skill) |  |  |  | 10% |
| 3.1 |  | Legal and ethical practice |  |  |  |
| 3.1.1 |  |  |  | Understand and comply with all aspects of Cambodian biomedical engineering law and its related code, decree, etc… |  |
| 3.1.2 |  |  |  | Practice in a manner that is consistence with biomedical engineering codes and ethical standard and guidelines etc... |  |
| 3.1.3 |  |  |  | Response promptly to situation od uncertainty in respect of biomedical engineering professional conduct |  |
| 3.2 |  | Good standing and reputation |  |  |  |
| 3.2.1 |  |  |  | Demonstrate personal and professional integrity |  |
| 3.2.2 |  |  |  | Contribute to the quality of services |  |
| 3.3 |  | Leadership skills |  |  |  |
| 3.3.1 |  |  |  | Work with confidence and apply skill as appropriate |  |
| 3.3.2 |  |  |  | Contribute to the initiation, development, and continuous education and training |  |
| 3.4 |  | Decision-making skills |  |  |  |
| 3.4.1 |  |  |  | Demonstrate the ability to make accurate, evidence based and timely decision in relation to biomedical engineering profession |  |
| 3.4.2 |  |  |  | Gather information to support the correct decision |  |
| 4 | Management and Communication Skill (Management, Soft Skill) |  |  |  | 10% |
| 4.1 |  | Management of biomedical engineering technology |  |  |  |
| 4.1.1 |  |  | Management of Medical Equipment |  |  |
| 4.1.1.1 |  |  |  | Contribute to the management of the workplace in relation to medical equipment |  |
| 4.1.2 |  |  | Management of Infrastructure of the hospital and biomedical labs |  |  |
| 4.1.2.1 |  |  |  | Contribute to the management of the workplace in relation to infrastructure |  |
| 4.1.3 |  |  | Waste management, Decontamination |  |  |
| 4.1.3.1 |  |  |  | Understand the concept of infection and prevention control |  |
| 4.1.4 |  |  | Quality management system |  |  |
| 4.1.4.1 |  |  |  | Describe laboratory quality management |  |
| 4.1.4.2 |  |  |  | Describe health service provision quality management |  |
| 4.1.4.3 |  |  |  | Contribute to laboratory quality assurance |  |
| 4.1.4.4 |  |  |  | Contribute to health service provision quality assurance |  |
| 4.1.5 |  |  | Safe biomedical practices |  |  |
| 4.1.5.1 |  |  |  | Understand the concept of 5S principles (Sort, Set in order, Shine, Standardize, Sustain) |  |
| 4.2 |  | Communication and self-management skill |  |  |  |
| 4.2.1 |  |  |  | Identify basic concepts of communication and its elements (sender, message, receiver, media, ….) |  |
| 4.2.2 |  |  |  | Identify communication methods (verbal, non-verbal, written, visual, digital (instant message apps…..) |  |
| 4.2.3 |  |  |  | Identify effective communication principles (clarity, conciseness, consistency….) |  |
| 4.2.4 |  |  |  | Demonstrate organization and efficiently carry out the job |  |
| 4.2.5 |  |  |  | Ensure working time |  |
| 4.3 |  | English Language |  |  |  |
| 4.3.1 |  |  |  | Understand Intermediate level of English language (in the four areas: Reading, Writing, Speaking, Listening) |  |
| 4.4 |  | Collaboration and team work |  |  |  |
| 4.4.1 |  |  |  | Understand the principles of organization and management |  |
| 4.4.2 |  |  |  | Work effectively with the documented procedures and policies within the workplace. |  |
| 4.4.3 |  |  |  | Understanding their role in the organizational structure and work effectively within the management structure of the workplace. |  |

- References

1.	Biomedical engineering curriculum development team. Assessment of Medical equipment in Cambodia. 2014.

2.	Ministry of Health. National Curriculum, Associate Degree, Biomedical Equipment Technician. 2013.

3.	Biomedical engineering curriculum development team. Draft of Curriculum for Associate Degree in Biomedical Engineering. 2017.

4.	Sidhu N, Allen K, Civil N, Johnstone C, Wong M, Taylor J, et al. Competency domains of educators in medical, nursing, and health sciences education: An integrative review. Med Teach. 2022 Sep 30;45:1–10.

5.	Rios MB, Perdiz NP, Gallardo JM, Risk MR. Competency-Based Assessment of Biomedical Engineering Students Through the Project-Based Learning Process. In: Lopez NM, Tello E, editors. Advances in Bioengineering and Clinical Engineering [Internet]. Cham: Springer Nature Switzerland; 2024 [cited 2024 Aug 13]. p. 500–9. (IFMBE Proceedings; vol. 105). Available from: https://link.springer.com/10.1007/978-3-031-51723-5_62

6.	competency-framework.pdf [Internet]. [cited 2024 Aug 13]. Available from: https://www.iaea.org/sites/default/files/18/03/competency-framework.pdf

7.	Core Competencies for the Biomedical Equipment Technician (BMET) - A Guide for Curriculum Development in Academic Institutions.

8.	White JA, Gaver DP, Butera RJ, Choi B, Dunlop MJ, Grande-Allen KJ, et al. Core Competencies for Undergraduates in Bioengineering and Biomedical Engineering: Findings, Consequences, and Recommendations. Ann Biomed Eng. 2020 Mar 1;48(3):905–12.

9.	Drouin S. National Occupational Standard for Biomedical Engineer. 2022;

10.	skills-framework-for-healthcare.pdf [Internet]. [cited 2024 Aug 13]. Available from: https://www.moh.gov.sg/docs/librariesprovider4/default-document-library/skills-framework-for-healthcare.pdf?sfvrsn=1df190f0_0

11.	Stage1_Competency_Standards.pdf [Internet]. [cited 2024 Aug 13]. Available from: https://www.engineersaustralia.org.au/sites/default/files/2019-11/Stage1_Competency_Standards.pdf

12.	Documents | Biomedical Engineering in Cambodia [Internet]. [cited 2024 Aug 13]. Available from: https://biomedicalengineering.fbmi.cvut.cz/biomedical-engineering/1-2/